## JA-100+
JA 100+ (Facelift)
CID | SIA | Description
1101 | QA | Health troubles activation
1110 | FA | Fire activation
1118 | FG | Unconfirmed FIRE alarm
1120 | PA | Panic activation
1130 | BA | Instant activation
1130 | UA | Keybox
1133 | BA | 24h detector activation
1134 | BA | Delay activation
1138 | BG | Unconfirmed instant
1144 | TA | Tamper activation
1147 | UT | Detector masking activation
1151 | GA | Gas leak activation
1152 | ZC | Freeze activation
1154 | WA | Flooding activation
1158 | KA | Overheating ON
1159 | ZA | Freezing ON
1170 | UA | A ON
1171 | UA | B ON
1172 | UA | C ON
1173 | UA | D ON
1174 | UA | E ON
1190 | AI | Instant alarm
1191 | AD | Delayed alarm
1300 | ET | Fault Activation
1301 | AT | Main power fail
1302 | YT | Backup battery of control panel low
1305 | RR | System boot-up
1306 | LB | Service mode entered
1308 | RE | System shut-down
1313 | YX | Section set and Service enter is Blocked by alarm
1314 | YG | ARC settings erased
1315 | YP | OBUS low voltage
1344 | XQ | Jamming detected
1350 | YC | ARC Communication failure
1351 | YD | ARC Main channel (LAN) failed
1352 | LT | ARC Backup channel (GSM) failed
1354 | YS | ARC Fault
1384 | XT | Periphery Battery LOW
1389 | YU | Periphery Test FAILED
1401 | OP | Unset localy
1402 | OG | Partially unset
1406 | BC | Alarm canceled by user
1407 | OQ | Unset remotely
1412 | LF | New session
1416 | LS | Configuration changed
1454 | NA | No movement in unset state
1455 | CI | Unsuccessful setting
1461 | JA | Code entry attempts exceeded
1521 | BL | Mute
1570 | EB | Device being bypassed
1572 | TB | Tamper being bypassed
1573 | BB | Bypassed while being set
1574 | UB | Maintenance enter
1578 | UO | Fault being bypassed
1601 | RX | Manual test
1602 | RP | Connection test ARC
1625 | JT | Time synchronization
1661 | RC | PG 1 ON
1662 | RC | PG 2 ON
1663 | RC | PG 3 ON
1664 | RC | PG 4 ON
1665 | RC | PG 5 ON
1666 | RC | PG 6 ON
1667 | RC | PG 7 ON
1668 | RC | PG 8 ON
1669 | RC | PG 9 ON
1670 | RC | PG 10 ON
1671 | RC | PG 11 ON
1672 | RC | PG 12 ON
1673 | RC | PG 13 ON
1674 | RC | PG 14 ON
1675 | RC | PG 15 ON
1676 | RC | PG 16 ON
1677 | RC | PG 17 ON
1678 | RC | PG 18 ON
1679 | RC | PG 19 ON
1680 | RC | PG 20 ON
1681 | RC | PG 21 ON
1682 | RC | PG 22 ON
1683 | RC | PG 23 ON
1684 | RC | PG 24 ON
1685 | RC | PG 25 ON
1686 | RC | PG 26 ON
1687 | RC | PG 27 ON
1688 | RC | PG 28 ON
1689 | RC | PG 29 ON
1690 | RC | PG 30 ON
1691 | RC | PG 31 ON
1692 | RC | PG 32 ON
3101 | QR | Healt troubles deactivation
3110 | FR | Fire deactivation
3118 | FH | Unconfirmed Fire alarm expired
3120 | PR | Panic deactivation
3130 | BR | Instant deactivation
3130 | UR | Key-box OFF
3133 | BR | 24h detector deactivation
3134 | BR | Delay deactivation
3138 | BH | Unconfirmed alarm expired
3144 | TR | Tamper deactivation
3147 | UJ | Detector masking deactivation
3151 | GR | Gas leak deactivation
3152 | ZQ | Freeze deactivation
3154 | WR | Flooding deactivation
3158 | KH | Overheating OFF
3159 | ZH | Freezing OFF
3170 | UR | A OFF
3171 | UR | B OFF
3172 | UR | C OFF
3173 | UR | D OFF
3174 | UR | E OFF
3190 | AU | Instant alarm expired
3191 | AY | Delayed alarm expired
3300 | ER | Fault deactivation
3301 | AR | Power recovery
3302 | YR | Backup battery of control panel OK
3306 | LX | Service exited
3313 | YZ | Section set and Service enter is Unblocked
3315 | YQ | OBUS voltage OK
3344 | YH | Jamming end
3350 | YK | ARC Communication recovery
3351 | YE | ARC Main channel (LAN) - OK
3352 | LR | ARC Backup channel (GSM) - OK
3354 | YL | ARC Fault restored
3384 | XR | Battery OK
3389 | YV | Periphery Test OK
3401 | CL | Set localy
3402 | CG | Partially set localy
3407 | CQ | Set remotely
3412 | LE | Session closed
3416 | LU | Configuration not changed
3417 | CU | Partially set remotely
3570 | EU | Device bypass cancelled
3572 | TU | Tamper bypass cancelled
3573 | BU | Input bypass cancelled
3574 | UU | Maintenance leave
3578 | UP | Fault bypass cancelled
3661 | RO | PG 1 OFF
3662 | RO | PG 2 OFF
3663 | RO | PG 3 OFF
3664 | RO | PG 4 OFF
3665 | RO | PG 5 OFF
3666 | RO | PG 6 OFF
3667 | RO | PG 7 OFF
3668 | RO | PG 8 OFF
3669 | RO | PG 9 OFF
3670 | RO | PG 10 OFF
3671 | RO | PG 11 OFF
3672 | RO | PG 12 OFF
3673 | RO | PG 13 OFF
3674 | RO | PG 14 OFF
3675 | RO | PG 15 OFF
3676 | RO | PG 16 OFF
3677 | RO | PG 17 OFF
3678 | RO | PG 18 OFF
3679 | RO | PG 19 OFF
3680 | RO | PG 20 OFF
3681 | RO | PG 21 OFF
3682 | RO | PG 22 OFF
3683 | RO | PG 23 OFF
3684 | RO | PG 24 OFF
3685 | RO | PG 25 OFF
3686 | RO | PG 26 OFF
3687 | RO | PG 27 OFF
3688 | RO | PG 28 OFF
3689 | RO | PG 29 OFF
3690 | RO | PG 30 OFF
3691 | RO | PG 31 OFF
3692 | RO | PG 32 OFF
6301 | AT | Power fail over 30 min

## JA-100+ PG
PG for JA 100+ (Facelift)
| Range | CID composition
1. group | 1 -32 PG | Section 1 + 1661 – 1692 / 3661 -3692
2. group | 33 – 64 PG | Section 2 + 1661 – 1692 / 3661 -3692
3. group | 65 – 96 PG | Section 3 + 1661 – 1692 / 3661 -3692
4. group | 97 – 128 PG | Section 4 + 1661 – 1692 / 3661 -3692
Example: Object ID 1234, 18 constant, PG ON no. 33, 02 is a section, 901 is a event source control panel = 1234 18 1 661 02 901

## Sources JA-100+
Sources for JA 100+ (Facelift)
Sources for JABLOTRON 100+
0 | Unknown
001 - 249 | Peripherie
251 - 850 | User codes
250 | Service code
901 | Control panel
921 | ARC1
922 | ARC2
923 | ARC3
924 | ARC4
911 | GSM communicator
912 | LAN communicator
951 | Bus1
952 | Bus2
953 | Bus3